## PRO-GOLF
City of Austin Comments Response Letter
Date: | 2010-03-19 | Sheet 1 of 1
Company: | City Of Austin Planning and Permit department.
Austin, Texas
Attn: | City of Austin Representative,
Reference: | Café Express | PROJECT NO. | 2010-008540 pr
3418 North Lamar Blvd.
Austin, Texas
City of Austin Representative,
Electrical: | 1. All electrical sheets have been reissued. Existing electrical service to be reused.
2. ESPA form provided by the Architect of record.
3. Electrical riser diagram has been modified, refer to sheet E-3
Please review entire current set of revised elevtrical drawings dated 3-19-10 by P.E.
HVAC: | 1. Existing Restaurant foot print of building has not changed. Existing HVAC roof top units to
be reused.
2. Structural Engineer drawings are attached to new permit set.
3. HVAC existing equipment set is shown on sheet M-2
4. Refer to sheet M-1 and M-1.2 for location of all roof mounted equipment.
Plumbing: | 1. Please refer to sheet P-2 and water riser for BFP, RPZA and DCVA locations
2. Gas riser has been revised for new and existing equipment. Refer to sheet P-6
3. Architectural and Plumbing drawings have been revised to reflect new plumbing
fixture requirements. Refer to sheet P-1 and P-2.
4. Existing water meter serving existing restaurant is 2"
Please call if you have any question.
Milt McLeod, P.E.
713-961-2699

## PRO-GOLF (2)
City of Houston Comments Response Letter
Sheet 1 of 1
|  | PROJECT NO. | 7057879
Please call if you have any question.
Please call if you have any question.
BOXX GROUP L.L.C.
Keith Boxx, President
713-557-2699